DATA SHEET FOR SOIL & PLANT PETIOLE, DRY AND GREEN FORAGE NTKS

When you are finished with the test, the nitrate standard should have a transparent shade of pink.  Even if your samples are slightly cloudy, you will still be able to see a shade of pink if enough nitrate is present.  Record your results below and on the back if testing more than 4 samples.

Compare your results by holding your samples against the standard and the space provided above color blocks.  Determine whether your samples are less than, nearly the same, or greater than the nitrate standard color.  Note that the colors are the same for all the kits, but the nitrate concentrations are different!  We also have mobile device apps available for android and apple devices.  Just search “Nitrate Color Slider” in your device app store to download our free app or view instructions on how to download and use.

Scale for Green Forage and Dry Forage Test Kits:

0 ppm	           400 ppm                1000 ppm               2000 ppm             Nitrate-N (NO3N, nitrate-nitrogen)

0 ppm              1800 ppm               4500 ppm               9000 ppm             Nitrate (NO3)

Scale for Soil Test Kits:

0 ppm		 10 ppm                   25 ppm                  50 ppm             Nitrate-N (ppm)

0 ppm                  44 ppm                 110 ppm                 220 ppm            Nitrate (ppm)

0 ppm                  50 ppm                 125 ppm                 250 ppm            N (pounds per acre)

Scale for Plant Petiole Test Kits:

0 ppm	             200 ppm                  500 ppm               1000 ppm          Nitrate-N (ppm)

| Sample Number | Sample Description | ppm Nitrate |
| --- | --- | --- |
|  | Example: northwest corner, collected 8/25/03 | Close to, but less than 40ppm |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |

| Sample Number | Sample Description | ppm Nitrate |
| --- | --- | --- |

# Text boxes

334 Hecla Street, Lake Linden, MI  49945  USA

Toll-free:  1.888.NITRATE			Website:  www.nitrate.com

Int’l phone: 1.906.296.1115		Tech Line:  1.906.296.1130

Fax:  1.906.296.8003			Support: tech@nitrate.com